## CDC_408_24_T
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 1
PRELIMINARIES AND GENERAL
Contractors Fixed-Charge Items (SANS 1200A 8.3):
1 | Conditions of Contract | Item | 1 |  | 0
2 | Provide Performance Guarantee | Item | 1 |  | 0
Contractual Requirements
3 | The sum shall cover the Contactor's time-related costs of insurance of the Works and Plant, third party, public liability insurance and unemployment insurance to cover his compliance with the requirements of the Workmen's Compensation Act | Months | 6 |  | 0
Operation & Maintenance of Facilities
4 | Establishment of Contractor's on site facilities | Item | 1 |  | 0
5 | Site operation costs (Water, Electricity, Ablutions, Communication, etc.) | Months | 6 |  | 0
Drawings
6 | Allow for making a full set of as built drawings. They must be handed to the Engineer at commissioning of the equipment. Also three full sets of maintenance manuals, including all technical literature, test certificate and wiring diagrams. | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Contractors Preliminaries and General
7 | Allow for all other preliminaries and general costs that the Contractor deems necessary to undertake the scope of works including but not limited to the following: Company and head office overheads, on-site supervision with the prescribed resources, plant, equipment and tools, etc. | Months | 6 |  | 0
Total of Bill 1 |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 2
OCCUPATIONAL HEALTH AND SAFETY
Prior to pricing the principal contractor must familiarize him/herself with the Occupational Health and Safety Act and Regulations, (Act 85 of 1993), read with Construction Regulations 2014, other relevant Regulations, the Disaster Management Act, (57 OF 2002) read with COVID-19 Regulations. It is imperative for the Contractor to familiarize him/herself on the Clients project specific requirements defined in the Project Specific Health and Safety Specifications.
1 | Personal Protective Equipment | Item | 1 |  | 0
2 | Overalls | Item | 1 |  | 0
3 | Hard hats and safety glasses | Item | 1 |  | 0
4 | Safety boots / shoes | Item | 1 |  | 0
5 | Visors / gloves | Item | 1 |  | 0
6 | Respiratory Equipment | Item | 1 |  | 0
7 | Noise Protection (Ear Plug / Muffs, etc.) | Item | 1 |  | 0
8 | Reflective Vests | Item | 1 |  | 0
9 | Other | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Fire Fighting
10 | Fire extinguishers | Item | 1 |  | 0
11 | Training | Item | 1 |  | 0
12 | Surveys | Item | 1 |  | 0
13 | Other | Item | 1 |  | 0
Health and Safety Personnel
14 | Safety Officer / Manager | Item | 1 |  | 0
15 | Full time Safety Representatives if required | Item | 1 |  | 0
16 | Fire Watchers | Item | 1 |  | 0
17 | First aiders | Item | 1 |  | 0
18 | External auditors  costs | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Facilities
19 | Provision of ablution facilities | Item | 1 |  | 0
20 | Service and maintenance of ablution facilities | Item | 1 |  | 0
21 | Provision of eating areas | Item | 1 |  | 0
22 | Cleaning of lay down and other storage areas | Item | 1 |  | 0
Fall Prevention and Protection
23 | Safety harnesses with double lanyards | Item | 1 |  | 0
24 | Lanyard extenders | Item | 1 |  | 0
25 | Scaffold hooks | Item | 1 |  | 0
26 | Lifelines and vertical fall arrest systems | Item | 1 |  | 0
27 | Scaffolding  material, erection and inspection | Item | 1 |  | 0
28 | Temporary hand railing material and kick boards | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Lifting Machinery and Equipment
29 | Annual inspections and load testing as per legal | Item | 1 |  | 0
30 | Certification of all lifting gear during the course of the project | Item | 1 |  | 0
31 | Third party inspections | Item | 1 |  | 0
Insurances
32 | COID cover for the project | Item | 1 |  | 0
33 | Liability insurances | Item | 1 |  | 0
34 | Conduct health fitness by a medical officer at least on a yearly basis to ensure their operator/workers are in good health before and during their engagement in the period of contract | Item | 1 |  | 0
First Aid
35 | First aid boxes | Item | 1 |  | 0
36 | Rescue equipment and stretchers | Item | 1 |  | 0
37 | Replenishment of boxes and other supplies | Item | 1 |  | 0
38 | Other | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Training
39 | Health and Safety representatives | Item | 1 |  | 0
40 | H&S Supervisory training | Item | 1 |  | 0
41 | First aid training | Item | 1 |  | 0
42 | Firefighting training | Item | 1 |  | 0
43 | Legal liability training | Item | 1 |  | 0
44 | Risk assessment training | Item | 1 |  | 0
45 | ORHVS / High Voltage Training | Item | 1 |  | 0
46 | Crane Operator | Item | 1 |  | 0
47 | Rigger | Item | 1 |  | 0
Signage
48 | All signage as required by law: regulatory, warning and | Item | 1 |  | 0
49 | Posters for awareness | Item | 1 |  | 0
50 | Barricading and hoarding for fall arrest, SANS approved safety netting (Orange colour with minimum of 1.2 meters high) | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Electrical
51 | Locks required for lockouts | Item | 1 |  | 0
52 | Tags | Item | 1 |  | 0
53 | Permit books | Item | 1 |  | 0
54 | Callipers | Item | 1 |  | 0
55 | Key safes | Item | 1 |  | 0
Medical Examinations
56 | Pre, periodic and exit assessment by the OMP/OHNP | Item | 1 |  | 0
Total of Bill 2 |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 3
ENVIRONMENTAL REQUIREMENTS
Traffic
1 | Signage and road markings | Item | 1 |  | 0
General Storage
2 | Clearing of area for stockpiling of topsoil and general storage for construction material and equipment | m² | 500 |  | 0
3 | Bunding material for topsoil stockpile areas assuming heavy duty PVC ground sheet | m² | 500 |  | 0
4 | Sandbags for topsoil stockpile areas (assuming 20kg heavy duty PE sand bags) | No | 10 |  | 0
Waste Management
5 | Waste Bins, skips & lids and covers (assuming 1 x 6m3 skip, monthly rental) | Months | 6 |  | 0
6 | General waste collection and disposal at a registered landfill site as per EMP requirements (monthly skip collection for 1 x skips) | Months | 6 |  | 0
7 | Separate liquid waste containers for liquid waste other than liquid sanitation waste (oil, lubricants, paints, etc.) (Assuming 210L HDPE drums) | No | 5 |  | 0
8 | Storage containers for hazardous waste, including bunding and lids (assuming 210L HDPE drums with lockable lids in plastic drip trays) | No | 5 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
9 | Hazardous waste transportation and disposal at a registered facility (assuming collection on a monthly basis) | Months | 6 |  | 0
10 | Costs associated with the supply and servicing of chemical toilets (assuming 3 toilets, monthly rental and weekly servicing) | Months | 6 |  | 0
11 | Oil spill kits | No | 2 |  | 0
12 | Oil separator | No | 1 |  | 0
13 | Drip trays (assuming 100x100x 12cm PE trays) | No | 5 |  | 0
14 | Container for soaking empty cement bags prior to disposal (Assuming 1m3 reinforced plastic flow bin) | No | 2 |  | 0
15 | Any other: Contractor to specify : | Item | 1 |  | 0
Vehicle Maintenance
16 | Bunding for fuel storage areas (concave concrete floor slab) | m² | 50 |  | 0
17 | Temporary fuel tanks and storage containers (assuming 2300L LLDPE horizontal tanks with stand) | No | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Construction Camp
18 | Fencing to secure construction camp (Assuming footprint of construction camp is 1000m2 with perimeter being 220m of fence line using galvanised mesh fencing 1.8m high and gum poles) | m | 220 |  | 0
19 | Signage lump sum (assuming all safety, information, etc signage on vinyl) | Item | 1 |  | 0
Air Quality
20 | Costs associated with dust suppression and remediation (water spraying) per hectare per month for the construction period assuming only a 1ha area. | Months | 6 |  | 0
21 | Hydroseeding for re-vegetation of stockpiles | m² | 500 |  | 0
Stormwater Management
22 | Lining of temporary channels with rock excavated during construction per tonne assuming single 8 tonne load required) | No | 1 |  | 0
23 | Installation of silt traps/screens at discharge points (assuming the installation of a concrete silt trap at the base of the outlet and assuming 2 stormwater outlets) | No | 2 |  | 0
24 | Revegetation of the ground around the outlets with grass (Assuming 2 stormwater outlets) | No | 2 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Concrete Batching Plant
25 | Costs associated with building the batching plant (must be enclosed by a bunded wall with divisions and dedicated compartments for the various types of material | m² | 50 |  | 0
26 | Costs associated with installation of temporary earth bunds (assuming only the cost of labour for 4 unskilled labourers for 3 days) | Days | 3 |  | 0
27 | Costs associated with installation of screening around the batch plant to prevent fly dust (assuming shade cloth 1m high for 30m perimeter, including steel support poles) | m | 30 |  | 0
Land Management
28 | Rehabilitation: Costs per ha associated with the rehabilitation of land that was disturbed during construction (Assuming 1ha will be impacted to be rehabilitated, including materials but excluding labour) | HA | 1 |  | 0
29 | Costs associated with vegetation clearing and eradication of Alien/invasive vegetation per month, for 3 month rehabilitation period | Months | 3 |  | 0
30 | No Go fencing around wetland per meter (assuming plastic barrier fencing and steel support poles) | m | 1000 |  | 0
31 | Signage: No-go areas / access route markers (assuming signage every 50m along length of no go fence line) | No | 40 |  | 0
Human Resources
32 | Appointment of Environmental Site Officer (ESO) for contract period | Months | 6 |  | 0
Total of Bill 3 |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 4
SOCIO-ECONOMIC REQUIREMENTS
PROJECT DURATION MONTHS: 6
MINIMUM LOCAL LABOUR EMPLOYMENT OBLIGATION (REF. SECTION 7 OF THE PROJECT EMPLOYMENT RELATIONS POLICY) NUMBER: 105
Site Employment Relations Practitioner
1 | Employment Relations Practitioner remuneration - (per month - 6 months) (Provisional Sum) | Item | 1 | 673200 | 673200
2 | All associated other costs, including tools of the trade, safety equipment etc. | Months | 6 |  | 0
3 | Same monthly provision for all subcontractors employing in excess of 50 persons | Months | 6 |  | 0
Principal Contractor's contribution to cover contractor's contribution to cover Contractor's Employment Co-ordinators Monthly Fee
4 | Remuneration contribution to shared resource (per month - 6 months) (Provisional Sum) | Item | 1 | 117000 | 117000
Central Wage Bureau
5 | Cost per payslip processed (Ref. 14.9 of Project Employment Relations Policy explaining Central Wage Bureau Service) (Provisional Sum) | Item | 1 | 130032 | 130032
Total Carried Forward |  |  |  |  | 920232
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 920232
Graduate Internships in Built Environment
The Contractor is to note that a total of 4 No. Interns are to be mentored for the duration of the project.
6 | Stipend (4 Interns for 6 months) (Provisional Sum) | Item | 1 | 32000 | 32000
7 | Costs of employment (including Statutory Contributions, Leave Provisions, etc.) (Provisional Sum) | Item | 1 | 19440 | 19440
8 | Provision to cover access to Tools of Trade (Provisional Sum) | Item | 1 | 40000 | 40000
Training
The training target is 36 No. candidates as outlined in the items below, which also stipulates the duration for each training. It is a condition of tender that the Contractor must be able to train the candidates (minimum 36 No.) within the first calendar month after the site handover in order to generate a skills pool for the project.
9 | Electrical Maintenance (30 Days of 12 Candidates) (Provisional Sum) | Item | 1 | 306000 | 306000
10 | Project Management Skills (30 Days of 6 Candidates) (Provisional Sum) | Item | 1 | 153000 | 153000
Other Training and Development Interventions
Community Participation / Engagement
11 | Community participation gratuities to cover logistics costs - meeting venue, refreshments. etc. (Provisional Sum) | Item | 1 | 54000 | 54000
Total of Bill 4 |  |  |  |  | 1524672
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 5
MV RETICULATION
Supply and Installation of 300mm2 11/11kV 3C Belted Aluminium PILC SWA MV Cables in accordance with drawings and specifications to CoT standards and SANS 97-Table 18
Excavate and Backfill per Linear Meter
Excavate and Backfill 600mm wide and 1000mm deep with 200mm soft soil bedding in
1 | Pickable soil | m | 1200 |  | 0
2 | Extra over for Soft rock | m | 1200 |  | 0
3 | Extra over for Hard rock | m | 1200 |  | 0
4 | Extra over for Chemical blasting | m | 80 |  | 0
5 | Import material for bedding | m³ | 135 |  | 0
6 | Backfill and compact to min 91% MOD AASHTO | m | 3600 |  | 0
Cross Cuts - 3m x 1.6m x 1.1m
7 | Crosscut, Backfill, Compact to min 91% MOD AASHTO | No | 15 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
MV Cable 300mm² 11/11kV 3C Belted Aluminium PILC SWA MV Cable : City of Tshwane Specification Table 18 (4 x Cables)
8 | Supply | m | 11200 |  | 0
9 | Installation | m | 11200 |  | 0
10 | End glanded terminated | No | 14 |  | 0
11 | Joint | No | 34 |  | 0
Cable Marking Tape
12 | Supply | m | 3500 |  | 0
13 | Install | m | 3500 |  | 0
Concrete Block Protection for Cables
Cable Cover Slabs - 1.2m x 0.3m x 0.5m
14 | Supply | m | 3500 |  | 0
15 | Install | m | 3500 |  | 0
Cable Route Markers
16 | Supply | No | 30 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
17 | Install | No | 30 |  | 0
Road Crossings, gardens and walkways
18 | Supply & Install Sleeves | m | 1000 |  | 0
19 | Supply & Install Orange Pipe | m | 2500 |  | 0
Driveway Crossing
20 | Driveway crossings | No | 15 |  | 0
21 | Supply & Install sleeves | m | 300 |  | 0
11kV NEW 3 WAY RMU (Metering type RMU)
CoT Supplier - MV Switchgear supplied and installed in accordance with drawings and specifications to CoT requirements on a concrete base
22 | Supply Standard 11,000 Volt Outdoor 3 Way RMU | No | 4 |  | 0
23 | Install Standard 11,000 Volt Outdoor 3 Way RMU | No | 4 |  | 0
24 | Supply RMU 4 Way Plinth | No | 4 |  | 0
25 | Prepare Plinth Bed | No | 4 |  | 0
26 | Install RMU Plinth | No | 4 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
27 | Transport RMU 4 Way Plinth & Unit | No | 4 |  | 0
28 | Earthing of Equipment | No | 4 |  | 0
Commissioning 11kV 3 Way RMU
29 | Test & commission of call cables in accordance with CoT procedure | No | 4 |  | 0
30 | Hand over of installation to supply authority | No | 4 |  | 0
31 | Allowance for RMU factory test to be completed on site | No | 4 |  | 0
32 | RMU test | No | 4 |  | 0
33 | Pressure testing | No | 4 |  | 0
34 | Isolation test of switching | No | 4 |  | 0
35 | Contact resistance | No | 4 |  | 0
11kV BMK
CoT Supplier - MV Switchgear supplied and installed in accordance with drawings and specifications to CoT requirements on a concrete base
36 | Supply Standard 11,000 Volt Outdoor 11kV BMK | No | 3 |  | 0
37 | Install Standard 11,000 Volt Outdoor 11kV BMK | No | 3 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
38 | Supply 11kV BMK Plinth | No | 3 |  | 0
39 | Prepare Plinth Bed | No | 3 |  | 0
40 | Install BMK Plinth | No | 3 |  | 0
41 | Transport 11kV BMK Plinth & Unit | No | 3 |  | 0
42 | Earthing of Equipment | No | 3 |  | 0
Commissioning 11kV BMK
43 | Test & commission of call cables in accordance with supply authority procedure | No | 3 |  | 0
44 | Hand over of installation to supply authority | No | 3 |  | 0
45 | Allowance for BMK factory test to be completed on site | No | 3 |  | 0
46 | BMK test | No | 3 |  | 0
47 | Pressure testing | No | 3 |  | 0
48 | Isolation test of switching | No | 3 |  | 0
49 | Contact resistance | No | 3 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
S1 Substation Erf 4
CoT Supplier - MV Actom Switchgear supplied and installed in accordance with drawings and specifications to CoT requirements in S1 substation
50 | Supply 11kV C/B - Consumer Substation | No | 8 |  | 0
51 | Install 11kV C/B - Consumer Substation | No | 8 |  | 0
52 | Transport | No | 8 |  | 0
53 | Earthing of equipment | Item | 1 |  | 0
54 | Battery tripping unit | Item | 1 |  | 0
55 | Testing and commissioning | No | 8 |  | 0
Waltloo Substation
MV Actom Switchgear supplied and installed in accordance with drawings and specifications to CoT requirements in CoT distribution substation
56 | Supply 11kV C/B - Main Distribution Substation | No | 4 |  | 0
57 | Install 11kV C/B - Main Distribution Substation | No | 4 |  | 0
58 | Transport | No | 4 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
59 | Earthing of equipment | Item | 1 |  | 0
60 | Battery tripping unit | Item | 1 |  | 0
61 | Testing and commissioning | No | 4 |  | 0
62 | Control panels | Item | 1 |  | 0
Total of Bill 5 |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 6
STREETLIGHTING INFRASTRUCTURE
Supply and Installation of 300mm² 11/11kV 3C Belted Aluminium PILC SWA MV Cable in accordance with drawings and specifications to CoT standards and SANS 97-Table 18
Excavate and Backfill per Linear Meter
Excavate and Backfill 600mm wide and 1000mm deep with 200mm soft soil bedding in
1 | Pickable soil | m | 200 |  | 0
2 | Extra over for Soft rock | m | 200 |  | 0
3 | Extra over for Hard rock | m | 20 |  | 0
4 | Extra over for Chemical blasting | m | 50 |  | 0
5 | Import material for bedding | m³ | 100 |  | 0
6 | Backfill and compact to min 91% MOD AASHTO | m | 400 |  | 0
Cross Cuts - 3m x 1.6m x 1.1m
7 | Crosscut, Backfill, Compact to min 91% MOD AASHTO | No | 4 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
MV Cable 300mm² 11/11kV 3C Belted Aluminium PILC SWA MV Cable : City of Tshwane Specification Table 18 (4 x Cables)
8 | Supply | m | 400 |  | 0
9 | Installation | m | 400 |  | 0
10 | End glanded terminated | No | 4 |  | 0
11 | Joint | No | 2 |  | 0
Cable Marking Tape
12 | Supply | m | 400 |  | 0
13 | Install | m | 400 |  | 0
Concrete Block Protection for Cables
Cable Cover Slabs - 1.2m x 0.3m x 0.5m
14 | Supply | m | 120 |  | 0
15 | Install | m | 120 |  | 0
Cable Route Markers
16 | Supply | No | 6 |  | 0
17 | Install | No | 6 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
Road Crossings, gardens and walkways
18 | Supply & Install Sleeves | m | 100 |  | 0
19 | Supply & Install Orange Pipe | m |  |  | Rate Only
Driveway Crossing
20 | Driveway crossings | No | 5 |  | 0
21 | Supply & Install sleeves | m | 150 |  | 0
MINIATURE SUBSTATION - 500kVA
CoT Supplier - MV Switchgear supplied and installed in accordance with drawings and specifications to CoT requirements on a concrete base
22 | Supply 500kVA 11/000/420V Minisub complete with C/B as per schematic diagram | No | 1 |  | 0
23 | Install Minisub | No | 1 |  | 0
24 | Supply Minisub Plinth | No | 1 |  | 0
25 | Prepare Plinth Bed | No | 1 |  | 0
26 | Install Minisub Plinth | No | 1 |  | 0
27 | Transport of Minisub & Plinth | No | 1 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
28 | Pressure Testing & Commissioning | No | 1 |  | 0
29 | Supply & Install Labels | No | 1 |  | 0
COMMISSIONING 500 kVA MINISUB
30 | Test & commission of cables in accordance with supply authority procedures | No | 1 |  | 0
31 | Handover of installation to supply authority | No | 1 |  | 0
32 | Allow for minisub factory test & to be completed on site | No | 1 |  | 0
33 | Minisub test | No | 1 |  | 0
34 | Pressure test | No | 1 |  | 0
35 | Isolation test & switching | No | 1 |  | 0
STREETLIGHTS
Streetlights complete with 10.5m Pedestal pole & 1.5m Stubby - Single (C-333)
Beka Ziya 104W LED 4000K 740mA Non- dimmable Mounted a Powdercoated Galvanised Steel Pole 114/76mm Plinth Mounted with access door 6000mm Mounting height Black Accessories1 x BRSB - Bravo - 150mm - Single Black 1 x 05-15-013 5 Amp MCB1 x A135NA Bolt cage - M16
36 | Supply | No | 22 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
37 | Install | No | 22 |  | 0
Streetlights complete with 10.5m Pedestal pole & 1.5m Stubby - Double (C-333)
Beka Ziya 104W LED 4000K 740mA Non- dimmable Mounted a Powdercoated Galvanised Steel Pole 114/76mm Plinth Mounted with access door 6000mm Mounting height Black Accessories1 x BRSB - Bravo - 150mm - Single Black 1 x 05-15-013 5 Amp MCB1 x A135NA Bolt cage - M16
38 | Supply | No |  |  | Rate Only
39 | Install | No |  |  | Rate Only
Streetlights complete with 10.5m Pedestal pole 1.5m Stubby - 3 way (C-333)
Beka Ziya 104W LED 4000K 740mA Non- dimmable Mounted a Powdercoated Galvanised Steel Pole 114/76mm Plinth Mounted with access door 6000mm Mounting height Black Accessories1 x BRSB - Bravo - 150mm - Single Black 1 x 05-15-013 5 Amp MCB1 x A135NA Bolt cage - M16
40 | Supply | No |  |  | Rate Only
41 | Install | No |  |  | Rate Only
Streetlights complete with 10.5m Pedestal pole & 1.5m Stubby - 4 way (C-333)
Beka Ziya 104W LED 4000K 740mA Non- dimmable Mounted a Powdercoated Galvanised Steel Pole 114/76mm Plinth Mounted with access door 6000mm Mounting height Black Accessories1 x BRSB - Bravo - 150mm - Single Black 1 x 05-15-013 5 Amp MCB1 x A135NA Bolt cage - M16
42 | Supply | No |  |  | Rate Only
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
43 | Install | No |  |  | Rate Only
Transport
44 | Transporting of Street lights to site | No | 22 |  | 0
Excavation for streetlighting
45 | Excavate for Streetlight Poles - 1.5m deep x 1.5m wide | No | 22 |  | 0
LV Cable 25mm² x 4C , Al, ECC Cable
46 | Supply | m | 600 |  | 0
47 | Install | m | 600 |  | 0
48 | T - End Glanded Terminated | No | 50 |  | 0
Wiring & Circuit Breakers for Poles
49 | Supply | No | 22 |  | 0
50 | Install | No | 22 |  | 0
Testing and Commissioning
51 | Testing and Commissioning of streetlights | No | 22 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
LV Cable 50mm² x 4 Al SWA Cable
52 | Supply | m |  |  | Rate Only
53 | Install | m |  |  | Rate Only
54 | T - End Glanded Terminated | No |  |  | Rate Only
Copper earth wire 16mm²
55 | Supply | m | 600 |  | 0
56 | Install | m | 600 |  | 0
57 | T - End Glanded Terminated | No | 50 |  | 0
Copper earth wire 25mm²
58 | Supply | m |  |  | Rate Only
59 | Install | m |  |  | Rate Only
60 | T - End Glanded Terminated | No |  |  | Rate Only
Excavate and Backfill per Linear Meter
Excavate and Backfill 300mm wide and 600mm deep in
61 | Pickable soil | m | 200 |  | 0
Total Carried Forward |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 0
62 | Extra over for Soft rock | m | 200 |  | 0
63 | Extra over for Hard rock | m | 200 |  | 0
64 | Extra over for Chemical blasting | m | 50 |  | 0
65 | Import material for bedding | m³ | 200 |  | 0
66 | Backfill and compact to min 91% MOD AASHTO | m | 600 |  | 0
Total of Bill 6 |  |  |  |  | 0
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 7
PROVISIONAL AND PRIME COST SUMS
PRIME COST SUMS
WAYLEAVE APPLICATIONS
1 | Provide the amount of R75 000,00 for Wayleave Applications | Item | 1 | 75000 | 75000
2 | Add Profit | Item | 1 |  | 0
3 | Add Attendance | Item | 1 |  | 0
HORIZONTAL DRILLING
4 | Provide the amount of R1 200 000,00 for Horizontal Drilling (HDD) as per detailed specifications and CoT requirements. | Item | 1 | 1200000 | 1200000
5 | Add Profit | Item | 1 |  | 0
6 | Add Attendance | Item | 1 |  | 0
SCADA CONTROL SYSTEMS
7 | Provide the amount of R3 000 000,00 for SCADA Control System at TASEZ Phase 2 distribution substation via Propshaft Rd Satellite Substation in accordance with the detailed drawings and specifications and CoT requirements. | Item | 1 | 3000000 | 3000000
Total Carried Forward |  |  |  |  | 4275000
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 4275000
8 | Add Profit | Item | 1 |  | 0
9 | Add Attendance | Item | 1 |  | 0
SPECIALIST EARTHING
10 | Provide the amount of R1 500 000,00 for the supply and installation of earthing to MV switchgear and substations in accordance with details and specifications to CoT requirements and SANS 10142-2. | Item | 1 | 1500000 | 1500000
11 | Add Profit | Item | 1 |  | 0
12 | Add Attendance | Item | 1 |  | 0
PROVISIONAL SUMS
LAND SURVEYOR
13 | Provide the amount of R150 000,00 for a Land Surveyor | Item | 1 | 150000 | 150000
14 | Add Profit | Item | 1 |  | 0
15 | Add Attendance | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 5925000
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 5925000
RELOCATION OF EXISTING SERVICES
16 | Provide the amount of R150 000,00 for Relocation of Existing Services | Item | 1 | 150000 | 150000
17 | Add Profit | Item | 1 |  | 0
18 | Add Attendance | Item | 1 |  | 0
IMPORTING FILL FOR TRENCHING
19 | Provide the amount of R150 000,00 for Importing fill material for trenching | Item | 1 | 150000 | 150000
20 | Add Profit | Item | 1 |  | 0
21 | Add Attendance | Item | 1 |  | 0
ALTERATIONS AND ADDITIONS TO WALTHLOO 3 SUBSTATION
22 | Provide the amount of R500 000,00 for Alterations and additions to Waltloo Substation in accordance with drawings and specifications to CoT requirements. | Item | 1 | 500000 | 500000
23 | Add Profit | Item | 1 |  | 0
24 | Add Attendance | Item | 1 |  | 0
Total Carried Forward |  |  |  |  | 6725000
Item No. | Description | Unit | Qty | Rate | Amount
Brought Forward |  |  |  |  | 6725000
TRAFFIC SIGNALS AND LV CONNECTIONS
25 | Provide the amount of R500 000,00 for Traffic Signals and LV Connections in accordance with CoT specifications and SANS 10142-1 and SANS 1507 | Item | 1 | 500000 | 500000
26 | Add Profit | Item | 1 |  | 0
27 | Add Attendance | Item | 1 |  | 0
ALTERATIONS AND ADDITIONS TO EERSTE FABRIEK MV NETWORK
28 | Provide the amount of R2 500 000,00 for Alterations and additions to Eerste Fabriek MV Network in accordance with drawings and specifications to CoT requirements. | Item | 1 | 2500000 | 2500000
29 | Add Profit | Item | 1 |  | 0
30 | Add Attendance | Item | 1 |  | 0
SMME TRAINING
31 | Provide the amount of R250 000,00 to be utilised for the training of SMME Subcontractors. The contractor is to refer to the document entitled Specification for the Employment of SMME Subcontractors annexed to these Bills of Quantities | Item | 1 | 250000 | 250000
32 | Add Profit | Item | 1 |  | 0
33 | Add Attendance | Item | 1 |  | 0
Total of Bill 7 |  |  |  |  | 9975000
Item No. | Description | Unit | Qty | Rate | Amount
BILL NO. 8
SMME PACKAGES
RE-INSTATING GARDENS AND DRIVEWAYS
1 | Provide the amount of R2 000 000,00 for Re-Instating Gardens and Driveways | Item | 1 | 2000000 | 2000000
2 | Add Profit | Item | 1 |  | 0
3 | Add Attendance | Item | 1 |  | 0
CONSTRUCTION OF SUBSTATIONS
4 | Provide the amount of R2 500 000,00 for Construction of Substations Including Civil Works in accordance with the detailed drawings and specifications, CoT requirements and SANS 1200 and SANS 10400 | Item | 1 | 2500000 | 2500000
5 | Add Profit | Item | 1 |  | 0
6 | Add Attendance | Item | 1 |  | 0
SITE SECURITY
7 | Provide the amount of R500 000,00 for Site Security | Item | 1 | 500000 | 500000
8 | Add Profit | Item | 1 |  | 0
9 | Add Attendance | Item | 1 |  | 0
Total of Bill 8 |  |  |  |  | 5000000
SUMMARY
Item No. | Description | Page No. |  |  | Amount
Bill No. 1 | Preliminaries and General | Page |  |  | 0
Bill No. 2 | Occupational Health and Safety | Page |  |  | 0
Bill No. 3 | Environmental Requirements | Page |  |  | 0
Bill No. 4 | Socio-Economic Requirements | Page |  |  | 1524672
Bill No. 5 | MV Reticulation | Page |  |  | 0
Bill No. 6 | Streetlighting Infrastructure | Page |  |  | 0
Bill No. 7 | Provisional and Prime Cost Sums | Page |  |  | 9975000
Bill No. 8 | SMME Packages | Page |  |  | 5000000
Sub Total (Excluding Vat) |  |  |  |  | 16499672
Allow 5% for Contingencies to be used by the Engineer and deducted in whole, or in part, if not required. No claim for any loss of profit will be entertained in this regard. |  | 5% | of | Sub Total | 824983.6
Total (Excluding Vat) |  |  |  |  | 17324655.6
Add Vat (15%) |  |  |  |  | 2598698.34
GRAND TOTAL (INCLUDING VAT) |  |  |  |  | 19923353.94